CS-01 Optical Fiber Cleaver with Thermal Stripper

Key features

- 2-in-1 multifunction cleaver can operation fiber cutting

and thermal stripping by only one machine

- CNC machining with all mental machine body,

fine workmanship

- Small size, user-friendly

- Built-in 2200mAh battery, type-C charging port

- 3 gears of temperature settings

- Use ribbon fiber holder can realize cleave 12 cores and strip 12 cores simultaneously, improve working efficiency

Specification

| Cladding Diameter | 125μm |
| --- | --- |
| Applicable Fiber Type | Fanout fiber /bare fiber/ribbon fiber/ invisible fiber |
| Cutting Length | 10~20+mm (Visual); 5~20+mm (Estimable) |
| Average cutting Angle | ≤0.6° |
| Fiber Holder | 4-in-1multifunction |
| Battery Capacity | 7.4V /2200mAh |
| Temperature Gears | 145℃/160℃/70℃ |
| Countdown time | 5 secs |
| Auto Power Off | 10 mins |
| Power Supply | 5V 1A ，Type-C charging Port |
| Blade edge width | 14mm |
| Dimension | 57W*83D*66H(mm) |
| Weight | 450g |
| Standard Configuration | Fiber Cleaver*1; Protection carry case *1; User Manual (QR code) *1; Brush *1; Allen Wrench*2; USB Charging cable*1; Warranty Card*1 |
| Optional Accessories | Fiber Off-cut Collector; Ribbon Fiber Holder |