SAT-1AS E1 BER Tester

Key Features

- 5 inch LCD with backlight, the largest screen in the industry

- Handheld, rugged design, easy to operation

- Particular history and real-time LED indicator design, find troubles more clearly

- Smart auto configuration feature

- Alarm and Histogram analysis for troubleshooting

- Multi-task operation at the same time

- Store 20 test results and 9 test configurations, with power-off memory

- Automatically power on/off testing by programmable timer

- Powerful PC software supports download results to PC, data analysis, report generation, printing, etc.

- Software updating

Key Functions

Normal testing

Pass through testing

Audio frequency testing

Applications for E1

- Service-interrupted error testing

- On-line service error testing

- Framed and unframed signals generation and reception

- 2Mbit/s unframed error performance testing

- 2Mbit/s framed N×64Kbit/s channel error testing

- Bit error, coding error, frame error, CRC error and E-bit error testing

- Signal loss alarm, AIS alarm, framed remote alarm, multi-framed remote alarm, out-of-frame, and pattern loss alarm

- Frequency offset transmitting

- Voice channel signal level and frequency testing

- Pattern slip testing

- Pass through testing

- Audio frequency testing

- Voice monitoring

- Signal state display, Voice channel content display, Voice channel busy / idle indication

- Alarm and error histogram analysis

- Time slot content analysis, drop and insert signal on each time slot

- Framed content analysis

- G. 821/G. 826/M. 2100 performance analysis

- Multi errors and alarms inserting

- Three input modes (terminating, bridging and monitoring)

- Provides two clock options (internal and picking-up)