SAT-3E Optical Laser Source

Key Features

- High sensitivity, multi output power

- Multi wavelengths optional, up to four wavelengths on two ports

- Automatic power-off, off time setting range 30~90mins

- Low battery alarm

- LCD display

- New-type conductive rubber switch, suitable for different operation environments.

Technical Specifications

| Model | 3E 3E04 3E05 3E06 3E07 3E08 |
| --- | --- |
| Working Wavelength(nm) | 1310/1550nm |
| Output Power (dBm) | 850/1300/1310/1550/1490/1625: -6 (error:±0.2) |
| Output Tone | 850/1300/1310/1550 /1490/1625: CW, 270Hz, 1KHz, 2KHz; 650: CW |
| Spectrum Width | 5nm |
| Output Stability | ±0.03dB/15min; 0.05dB/8H |
| Optical Identity Distance | 5km; 10km/15km optional (650nm) |
| Display | LCD |
| Optical Interface | FC, SC, ST |
| Power Supply | AA alkaline batteries |
| Operating Temperature | -10---+50°C |
| Size | L*H*W:140*72*38mm, 0.3kg |