1).LED Light
2). Wide measurement range, High resolution
3).SM or MM applications
4). 2.5mm universal connector
5).850/1300/1310/1490/1550/1625nm

6). Auto power off (can be cancelled)

Specification

| Model | SAT-4EXT | SAT-4EXC |
| --- | --- | --- |
| Display Range | 1310/1490/1550/1625:-70--+10 dBm 850/1300： -60--+6 dBm | 1310/1490/1550/1625:-50--+26 dBm 850/1300： -40--+26 dBm |
| Accuracy | ± 0.2dB |  |
| Calibrated Wavelengths | 850nm/1300nm/1310nm/1490nm/1550/nm/1625nm |  |
| Display Resolving Power | 0.01dB |  |
| Linearity | ± 0.2 dB |  |
| OPM Connector | 2.5mm universal |  |
| VFL Connector | 2.5mm universal |  |
| VFL Output(Optional) | 1mW or 10mW, CW and Glint |  |
| LED Light | SOS code output |  |
| Automatic Power Off | No operation in 10 minutes (can be cancelled), Low battery energy. |  |
| Battery Charge | Yes |  |
| Battery Life | Above 60 hours(OPM) |  |
| Size | 105mm X 52mm X24mm |  |
| Weight | About 100g |  |
| Storage Temperature | -20---+60 ℃ |  |
| Operating Temperature | -10---+50 ℃ |  |
| Humidity | <90%RH |  |
| Elevation | 0---5000m |  |

4EXT=OPM(-70---+10 dBm)+VFL(1nw)/No VFL

4EXC=OPM(-50---+26 dBm)+VFL(1nw)/No VFL

Aitelong released a new model of optical power meter to meet the market requirement , for which is named

SAT-4EX Mini optical power meter. It's featured with:

- LED Light

- Wide measurement range,high resolution

- SM or MM application

- 2.5mm universal connector

- 850/1300/1310/1490/1550/1625nm

- Auto power off(can be cancelled)

- One-year warranty

Aitelong has released a new product SAT-4EX Mini optical power meter,which is in smaller size, easier operation, and more beautiful

shell.