SAT-7E PON Power Meter

PON power meter is part of most essential tool for all technicians installing or maintaining PON networks. PON power meters are well designed for all kinds of demanding applications on fiber measurement with different functions and parameters. With a rugged design, SAT-7E series PON power meters are built for top ruggedness and versatility, perfect for the harshest test conditions to verify the continuity and evaluated fiber link transmission quality.

Key Features

1. Automated PASS/FAIL assessment.

2. Quick and efficient visual inspection.

3. Providing distinct power values for 1310nm,1490nm,1550nm.

4.Pass through measurement.

5. Simultaneously measure and display the concurrent voice, data and video signals on different PON architectures.

6. Manual calibration.

7. One-year warranty and three-year recommended calibration interval.

Specifications

| Measurement Range(dBm) | 1310nm: -40---+10dBm; 1490nm:-50--+10dBm; 1550nm:-50--+25dBm |
| --- | --- |
| Pass Through Loss | < 1.5dB |
| Accuracy | ±0.2 dB(burst signal:±0.5dB) |
| Threshold Sets | 10 |
| Data Storage | 100 |
| Connector | SC/PC(or customize) |
| Auto Power Off | No operation in 10 minutes(can be cancelled), low battery energy |
| Battery Charger | Yes |
| Connect to PC | Optional function |
| Manual Calibration | Yes |
| Operating Time | Above 36 hours |
| Power Supply | 3xAA batteries or AC/DC power supply adapter |
| Size | L x H x W: 190 x 90 x 40mm, |
| Weight | About 450kgs |
| Storage Temperature | -20℃——+60℃, <90%RH |
| Operating Temperature | -10℃——+50℃, <90%RH |