SAT-IA Intelligent Battery Activator

Function

- Activation function

- Check discharge function

- Charge function

- Real-time data memory

- Data upload and export

- Automatic protection function

Application Scenarios

1. Daily maintenance and management of batteries
2. Inspection, acceptance, and installation of newly received batteries
3. To provide a basis for scrapping batteries
4. Quality control of battery manufacturers

Specification

| Measurement Type of Cell Voltage | 2V/6V/12V; |
| --- | --- |
| Measurement Range of Cell Voltage | 2V:0～3V; 6V: 4-8V; 12V:4-15V |
| Resolution of Cell Voltage | 2V: 0.001V; 6V: 0.01V; 12V:0.01V |
| Voltage Testing Accuracy | 0.5% |
| Working Range of Charge and Discharge Current | 2A~100A |
| Control Accuracy of Charge and Discharge Current | 0.1A |
| Current Testing Accuracy | 1% |
| Battery Capacity Check Range | 2V:20-1000Ah;6V:20-200Ah:12V:20-300Ah; |
| Working Voltage | AC 220±15% |
| Communication Mode | RS232 communication and USB communication |
| Cooling Mode | Refrigeration by blasting |
| Working Environment | Temperature: 0℃～40℃ Humidity: 20%～80%RH |
| Storage Condition | -20℃～70℃ package and storage |
| Display Mode | LCD with High-brightness |
| External Dimensions(W×H×L) | 450mm×190mm×585mm |
| Weight | 11kg |
| Carry Method | Portable type, move with roller wheel |